## Reagents
ASSAY REAGENT PREP
Blue cells are inputs. Grey cells calculate automatically. Green cells pull from the Compounds tab. Set 'Working volume to prepare' once, then Tb / fluorescein sections follow from it.
1 · DONOR / MASTER MIX
Number of wells | 16
Volume per well (µl) | 50
Extra margin (×) | 1.2
Vehicle / buffer-only channel (µl) | 300
Total assay volume (µl) | 800
Buffer for compounds (µl) | 1298
Grand total (µl) | 2098
With margin (µl) | 2517.6
Suggested prep volume (round up 100) | 2600
Working volume to prepare (µl) | 2200
2 · TERBIUM (Tb) DONOR
Tb dilution (1 : X) | 1000
Extra headroom (µl) | 100
Working volume (µl) | 900
Tb stock needed (µl) | 0.9
Diluent — into (µl) | 899.1
3 · FLUORESCEIN WORKING SOLUTION
Target working conc (µM) | 50
Source stock conc (µM) | 1000
BSA 5% to add (µl) | 0
Volume to prepare (µl) | 2200
Fold dilution (source ÷ target) | 20
Vol of source stock (µl) | 110
Prep a little extra (µl) | 130
Diluent — into (µl) | 2090
4 · FLUORESCEIN STOCK (make the source)
Target conc (µM) | 1000
Source conc (µM) | 100000
Volume to prepare (µl) | 130
Fold dilution (source ÷ target) | 100
Vol of source stock (µl) | 1.3
Diluent — into (µl) | 128.7
5 · DMSO VEHICLE MATCHING (auto — from Compounds)
Pulls the matched target and buffer totals from the Compounds tab. Prepare two diluents from the fluorescein working solution: 'Normal buffer' (no DMSO) and 'DMSO buffer' (fluorescein buffer + pure DMSO at the target %). Terbium is added before labelling and washed out, so it is never matched.
Effective target — working DMSO (%) | 0.2%
→ In-well DMSO (%) | 0.1%
Total NORMAL buffer, compounds (µl) | 499
Total DMSO-buffer needed (µl) | 799
→ pure DMSO to add (µl) | 1.598
→ fluorescein buffer (µl) | 797.402
DMSO-buffer recipe = (fluorescein buffer E48) + (pure DMSO E47). The vehicle/buffer-only channel (§1) is treated as DMSO-buffer. Rule of thumb: the first tube of the single highest-DMSO compound uses Normal buffer; every other tube uses DMSO buffer (the sheet computes the exact split per tube).
6 · WATER / % v-v ADDITIVE
Total volume (µl) | 680
Additive fraction (% v/v) | 2%
Additive volume (µl) | 13.6
Into (µl) | 666.4